## detectors
serial_no | Ndw value | Chamber_type | pressure_from_calibration_certificate_mBar | temperature_from_calib_certificate_celsius | calibration_quality | calibration_depth | calibration_laboratory | calibration_date | polarizing_potential | calibration_polarity | photon_beam_quality
1001 | 5.382 | PTW_30006_30013_farmer | 1013.2 | 20 | cobalt_60 | 5 | SSDL | 2018/nov/20 | 400 | positive | 1
2002 | 5.548 | PTW_30004_30012_farmer | 1013.2 | 20 | cobalt_60 | 5 | SSDL | 2018/aug/25 | 400 | negative | 1
3003 | 5.391 | PTW_30006_30013_farmer | 1013.2 | 20 | cobalt_60 | 10 | SSDL | 2018/jan/01 | 400 | positive | 1

## electrometer
name | serial_no | calibrated_seperately | calibration_date | calibration_lab | range_setting
PTW_Unidos E | 123456 | no | 2018/Aug/25 | SSDL | Medium
PTW_WebLine | 236578 | no | 2019/sep/25 | SSDL | High

## Sheet2
PTW_30006_30013_farmer | cobalt_60 | Low
PTW_30004_30012_farmer | photons | Medium
PTW_30002_30011_farmer |  | High
PTW_30010_farmer
PTW_30001_farmer
PTW_23323_micro
PTW_23331_rigid
PTW_23332_rigid
PTW_23333_3mm_cap
PTW_23333_4.6_mm_cap
PTW_31002_flexible
PTW_31003_flexible
PTW_31006_PinPoint
PTW_31014_PinPoint
SNC_100700_0_Farmer
SNC_100700_1_Farmer
Victoreen_Radocon_III_550
Victoreen_Radocon_II_555
Victoreen_30_348
Victoreen_30_351
Victoreen_30_349
Victoreen_30_361
Scdx_Wellhofer_CC01
Scdx_Wellhofer_CC04_IC04
Scdx_Wellhofer_CC13_IC10_IC15
Scdx_Wellhofer_CC08_IC05_IC06
Scdx_Wellhofer_CC25_IC25
Scdx_Wellhofer_FC23_C_IC28_Farmer_shortened
Scdx_Wellhofer_FC65_P_IC69_Farmer
Scdx_Wellhofer_FC65_G_IC70_Farmer
Capintec_PR_05P_mini
Capintec_PR_05_mini
Capintec_PR_06_C_G_Farmer
Exradin_A2_Spokas
Exradin_T2_Spokas
Exradin_A1_mini_Shonka
Exradin_T1_mini_Shonka
Exradin_A12_Farmer
Far_West_Tech_IC_18
FZH_TK_01
Nuclear_Assoc_30_750
Nuclear_Assoc_30_749
Nuclear_Assoc_30_744
Nuclear_Assoc_30_716
Nuclear_Assoc_30_753_Farmer_shortened
Nuclear_Assoc_30_752_Farmer
Nuclear_Assoc_30_751_Farmer
NE_2515
NE_2515_3
NE_2577
NE_2505_Farmer
NE_2505_A_Farmer
NE_2505_3_3A_Farmer
NE_2505_3_3B_Farmer
NE_2571_Farmer
NE_2581_Farmer_PMMA_cap
NE_2581_Farmer_Polystyrene_cap
NE_2561_2611_Sec_Std